## Sheet1
Oct, 2011 Beowawe Binary Bottoming Cycle Data - DE-EE0002856
Date | Time | Gen. Output [MW] | Parasitic [MW] | Net | T Dry Bulb [F] | Wet Bulb Temp [F] | Brine Exit Temp [F] | Brine Flow [gpm] | Brine Inlet Temp [F] | Cooling Water Inlet Temp [F] | Cooling Water Outlet Temp [F]
Oct 1, 2011 | 2401:00
Oct 1, 2011 | 2402:00 | 1.825 | 0.64167 | 1.1833 | 67.8 | 54 | 150 | 2629.1673 | 209 | 69 | 84
Oct 1, 2011 | 2403:00
Oct 1, 2011 | 2404:00 | 1.927 | 0.64167 | 1.2853 | 67.9 | 54 | 151 | 2748.1673 | 209 | 70 | 84
Oct 1, 2011 | 2405:00
Oct 1, 2011 | 2406:00 | 1.923 | 0.64167 | 1.2813 | 65.7 | 54 | 151 | 2743.5006 | 209 | 70 | 84
Oct 1, 2011 | 2407:00
Oct 1, 2011 | 2408:00 | 1.836 | 0.64167 | 1.1943 | 73 | 58 | 150 | 2642.0006 | 209 | 70 | 85
Oct 1, 2011 | 2409:00
Oct 1, 2011 | 2410:00 | 1.689 | 0.64167 | 1.0473 | Not Recorded | Not Recorded | Not Recorded | 2470.5006 | Not Recorded | Not Recorded | Not Recorded
Oct 1, 2011 | 2411:00
Oct 1, 2011 | 2412:00 | 1.597 | 0.64167 | 0.95533 | 86 | 62 | 147 | 2363.1672 | 209 | 72 | 86
Oct 1, 2011 | 2413:00
Oct 1, 2011 | 2414:00 | 1.635 | 0.64167 | 0.99333 | 82 | 60 | 147 | 2407.5005 | 209 | 71 | 85
Oct 1, 2011 | 2415:00
Oct 1, 2011 | 2416:00 | 1.667 | 0.64167 | 1.0253 | 81 | 60 | 148 | 2444.8339 | 209 | 70 | 85
Oct 1, 2011 | 2417:00
Oct 1, 2011 | 2418:00 | 1.706 | 0.64167 | 1.0643 | 80 | 58 | 148 | 2490.3339 | 209 | 70 | 84
Oct 1, 2011 | 2419:00
Oct 1, 2011 | 2420:00 | 1.969 | 0.64167 | 1.3273 | 68 | 55 | 152 | 2797.1673 | 209 | 68 | 83
Oct 1, 2011 | 2421:00
Oct 1, 2011 | 2422:00 | 2.001 | 0.64167 | 1.3593 | 66.1 | 51 | 151 | 2834.5007 | 209 | 68 | 82
Oct 1, 2011 | 2423:00
Oct 2, 2011 | 2400:00 | 1.98 | 0.64167 | 1.3383 | 65.2 | 52 | 151 | 2810.0007 | 209 | 68 | 83
Oct 2, 2011 | 2401:00
Oct 2, 2011 | 2402:00 | 2.082 | 0.64167 | 1.4403 | 58.1 | 46 | 151 | 2929.0007 | 208 | 66 | 80
Oct 2, 2011 | 2403:00
Oct 2, 2011 | 2404:00 | 2.095 | 0.64167 | 1.4533 | 57.2 | 45 | 151 | 2944.1674 | 208 | 66 | 80
Oct 2, 2011 | 2405:00
Oct 2, 2011 | 2406:00 | 2.167 | 0.64167 | 1.5253 | 52.6 | 43 | 151 | 3028.1674 | 209 | 64 | 79
Oct 2, 2011 | 2407:00
Oct 2, 2011 | 2408:00 | 2.124 | 0.64167 | 1.4823 | 66 | 48 | 151 | 2978.0007 | 209 | 67 | 81
Oct 2, 2011 | 2409:00
Oct 2, 2011 | 2410:00 | 1.956 | 0.64167 | 1.3143 | 76 | 54 | 151 | 2782.0007 | 209 | 70 | 84
Oct 2, 2011 | 2411:00
Oct 2, 2011 | 2412:00 | 1.598 | 0.64167 | 0.95633 | 83 | 60 | 148 | 2364.3339 | 209 | 71 | 85
Oct 2, 2011 | 2413:00
Oct 2, 2011 | 2414:00 | 1.671 | 0.64167 | 1.0293 | 85 | 61 | 147 | 2449.5006 | 209 | 70 | 84
Oct 2, 2011 | 2415:00
Oct 2, 2011 | 2416:00 | 1.731 | 0.64167 | 1.0893 | 83 | 60 | 148 | 2519.5006 | 209 | 71 | 85
Oct 2, 2011 | 2417:00
Oct 2, 2011 | 2418:00 | 1.76 | 0.64167 | 1.1183 | 72 | 55 | 149 | 2553.3339 | 209 | 71 | 85
Oct 2, 2011 | 2419:00
Oct 2, 2011 | 2420:00 | 1.973 | 0.64167 | 1.3313 | 66.6 | 52 | 152 | 2801.834 | 209 | 69 | 83
Oct 2, 2011 | 2421:00
Oct 2, 2011 | 2422:00 | 2.066 | 0.64167 | 1.4243 | 61.6 | 48 | 151 | 2910.334 | 209 | 66 | 81
Oct 2, 2011 | 2423:00
Oct 3, 2011 | 2400:00 | 2.003 | 0.64167 | 1.3613 | 60.8 | 50 | 151 | 2836.834 | 209 | 68 | 82
Oct 3, 2011 | 2401:00
Oct 3, 2011 | 2402:00 | 2.163 | 0.64167 | 1.5213 | 51.1 | 44 | 150 | 3023.5007 | 209 | 64 | 79
Oct 3, 2011 | 2403:00
Oct 3, 2011 | 2404:00 | 2.186 | 0.64167 | 1.5443 | 52.4 | 42 | 150 | 3050.3341 | 209 | 63 | 78
Oct 3, 2011 | 2405:00
Oct 3, 2011 | 2406:00 | 2.146 | 0.64167 | 1.5043 | 52.4 | 46 | 151 | 3003.6674 | 209 | 66 | 80
Oct 3, 2011 | 2407:00
Oct 3, 2011 | 2408:00 | 2.067 | 0.64167 | 1.4253 | 60 | 49 | 151 | 2911.5007 | 209 | 68 | 83
Oct 3, 2011 | 2409:00
Oct 3, 2011 | 2410:00 | 1.698 | 0.64167 | 1.0563 | 77 | 56 | 149 | 2481.0006 | 209 | 71 | 85
Oct 3, 2011 | 2411:00
Oct 3, 2011 | 2412:00 | 1.753 | 0.64167 | 1.1113 | 82 | 60 | 149 | 2545.1673 | 209 | 70 | 84
Oct 3, 2011 | 2413:00
Oct 3, 2011 | 2414:00 | 1.745 | 0.64167 | 1.1033 | 83 | 60 | 149 | 2535.8339 | 209 | 71 | 85
Oct 3, 2011 | 2415:00
Oct 3, 2011 | 2416:00 | 1.824 | 0.64167 | 1.1823 | 81 | 60 | 150 | 2628.0006 | 209 | 70 | 85
Oct 3, 2011 | 2417:00
Oct 3, 2011 | 2418:00 | 1.817 | 0.64167 | 1.1753 | 76 | 58 | 150 | 2619.8339 | 209 | 70 | 84
Oct 3, 2011 | 2419:00
Oct 3, 2011 | 2420:00 | 1.849 | 0.64167 | 1.2073 | 72.2 | 55 | 150 | 2657.1673 | 209 | 69 | 84
Oct 3, 2011 | 2421:00
Oct 3, 2011 | 2422:00 | 1.899 | 0.64167 | 1.2573 | 64.3 | 53 | 150 | 2715.5006 | 209 | 69 | 83
Oct 3, 2011 | 2423:00
Oct 4, 2011 | 2400:00 | 1.995 | 0.64167 | 1.3533 | 60.5 | 50 | 151 | 2827.5007 | 209 | 68 | 82
Oct 4, 2011 | 2401:00
Oct 4, 2011 | 2402:00 | 1.963 | 0.64167 | 1.3213 | 54.5 | 51 | 151 | 2790.1673 | 209 | 68 | 82
Oct 4, 2011 | 2403:00
Oct 4, 2011 | 2404:00 | 2.015 | 0.64167 | 1.3733 | 52.9 | 48 | 151 | 2850.834 | 209 | 67 | 81
Oct 4, 2011 | 2405:00
Oct 4, 2011 | 2406:00 | 2.029 | 0.64167 | 1.3873 | 51.3 | 47 | 151 | 2867.1673 | 209 | 66 | 81
Oct 4, 2011 | 2407:00
Oct 4, 2011 | 2408:00 | 1.988 | 0.64167 | 1.3463 | 60 | 51 | 151 | 2819.334 | 209 | 67 | 81
Oct 4, 2011 | 2409:00
Oct 4, 2011 | 2410:00 | 1.926 | 0.64167 | 1.2843 | Not Recorded | Not Recorded | Not Recorded | 2747.0006 | Not Recorded | Not Recorded | Not Recorded
Oct 4, 2011 | 2411:00
Oct 4, 2011 | 2412:00 | 1.95 | 0.64167 | 1.3083 | 66 | 54 | 152 | 2775.0006 | 209 | 69 | 84
Oct 4, 2011 | 2413:00
Oct 4, 2011 | 2414:00 | 1.872 | 0.64167 | 1.2303 | Not Recorded | Not Recorded | Not Recorded | 2684.0006 | Not Recorded | Not Recorded | Not Recorded
Oct 4, 2011 | 2415:00
Oct 4, 2011 | 2416:00 | 1.885 | 0.64167 | 1.2433 | 66 | 54 | 151 | 2699.1673 | 209 | 69 | 84
Oct 4, 2011 | 2417:00
Oct 4, 2011 | 2418:00 | 1.817 | 0.64167 | 1.1753 | 64 | 54 | 151 | 2619.8339 | 209 | 69 | 84
Oct 4, 2011 | 2419:00
Oct 4, 2011 | 2420:00 | 1.961 | 0.64167 | 1.3193 | 58 | 50 | 151 | 2787.834 | 209 | 69 | 83
Oct 4, 2011 | 2421:00
Oct 4, 2011 | 2422:00 | 1.995 | 0.64167 | 1.3533 | 58.9 | 50 | 151 | 2827.5007 | 209 | 68 | 82
Oct 4, 2011 | 2423:00
Oct 5, 2011 | 2400:00 | 2.002 | 0.64167 | 1.3603 | 55.8 | 48 | 151 | 2835.6673 | 209 | 67 | 81
Oct 5, 2011 | 2401:00
Oct 5, 2011 | 2402:00 | 2.015 | 0.64167 | 1.3733 | 53.3 | 49 | 151 | 2850.834 | 209 | 67 | 81
Oct 5, 2011 | 2403:00
Oct 5, 2011 | 2404:00 | 2.048 | 0.64167 | 1.4063 | 51.3 | 47 | 151 | 2889.334 | 209 | 66 | 80
Oct 5, 2011 | 2405:00
Oct 5, 2011 | 2406:00 | 2.027 | 0.64167 | 1.3853 | 49.9 | 46 | 151 | 2864.834 | 208 | 66 | 81
Oct 5, 2011 | 2407:00
Oct 5, 2011 | 2408:00 | 2.032 | 0.64167 | 1.3903 | 47 | 45 | 151 | 2870.6673 | 209 | 66 | 81
Oct 5, 2011 | 2409:00
Oct 5, 2011 | 2410:00 | 1.985 | 0.64167 | 1.3433 | 42 | 41 | 150 | 2815.834 | 208 | 66 | 81
Oct 5, 2011 | 2411:00
Oct 5, 2011 | 2412:00 | 2.079 | 0.64167 | 1.4373 | 44 | 42 | 150 | 2925.5007 | 208 | 64 | 79
Oct 5, 2011 | 2413:00
Oct 5, 2011 | 2414:00 | 2.103 | 0.64167 | 1.4613 | 45 | 42 | 150 | 2953.5007 | 208 | 64 | 79
Oct 5, 2011 | 2415:00
Oct 5, 2011 | 2416:00 | 2.043 | 0.64167 | 1.4013 | 48 | 42 | 151 | 2883.5007 | 208 | 66 | 81
Oct 5, 2011 | 2417:00
Oct 5, 2011 | 2418:00 | 2.195 | 0.64167 | 1.5533 | 46 | 41 | 150 | 3060.8341 | 209 | 63 | 78
Oct 5, 2011 | 2419:00
Oct 5, 2011 | 2420:00 | 2.261 | 0.64167 | 1.6193 | 42.7 | 37 | 150 | 3137.8341 | 208 | 61 | 76
Oct 5, 2011 | 2421:00
Oct 5, 2011 | 2422:00 | 2.257 | 0.64167 | 1.6153 | 35.1 | 32 | 149 | 3133.1674 | 208 | 60 | 75
Oct 5, 2011 | 2423:00
Oct 6, 2011 | 2400:00 | 2.308 | 0.64167 | 1.6663 | 33.8 | 32 | 149 | 3192.6674 | 208 | 59 | 74
Oct 6, 2011 | 2401:00
Oct 6, 2011 | 2402:00 | 2.276 | 0.64167 | 1.6343 | 37.1 | 32 | 149 | 3155.3341 | 208 | 60 | 75
Oct 6, 2011 | 2403:00
Oct 6, 2011 | 2404:00 | 2.276 | 0.64167 | 1.6343 | 36.4 | 32 | 150 | 3155.3341 | 208 | 61 | 75
Oct 6, 2011 | 2405:00
Oct 6, 2011 | 2406:00 | 2.274 | 0.64167 | 1.6323 | 35.6 | 32 | 149 | 3153.0008 | 209 | 60 | 75
Oct 6, 2011 | 2407:00
Oct 6, 2011 | 2408:00 | 2.263 | 0.64167 | 1.6213 | 38 | 36 | 148 | 3140.1674 | 208 | 62 | 75
Oct 6, 2011 | 2409:00
Oct 6, 2011 | 2410:00 | 2.233 | 0.64167 | 1.5913 | 44 | 38 | 150 | 3105.1674 | 208 | 62 | 76
Oct 6, 2011 | 2411:00
Oct 6, 2011 | 2412:00 | 2.175 | 0.64167 | 1.5333 | 47 | 40 | 150 | 3037.5007 | 208 | 62 | 77
Oct 6, 2011 | 2413:00
Oct 6, 2011 | 2414:00 | 2.197 | 0.64167 | 1.5553 | 45 | 41 | 150 | 3063.1674 | 208 | 62 | 77
Oct 6, 2011 | 2415:00
Oct 6, 2011 | 2416:00 | 2.175 | 0.64167 | 1.5333 | 49.3 | 42 | 150 | 3037.5007 | 209 | 63 | 77
Oct 6, 2011 | 2417:00
Oct 6, 2011 | 2418:00 | 2.225 | 0.64167 | 1.5833 | 44.5 | 39 | 150 | 3095.8341 | 208 | 62 | 77
Oct 6, 2011 | 2419:00
Oct 6, 2011 | 2420:00 | 2.257 | 0.64167 | 1.6153 | 43 | 37 | 150 | 3133.1674 | 208 | 62 | 77
Oct 6, 2011 | 2421:00
Oct 6, 2011 | 2422:00 | 2.221 | 0.64167 | 1.5793 | 41 | 32 | 150 | 3091.1674 | 209 | 62 | 77
Oct 6, 2011 | 2423:00
Oct 7, 2011 | 2400:00 | 2.136 | 0.64167 | 1.4943 | 38 | 32 | 150 | 2992.0007 | 209 | 61 | 76
Oct 7, 2011 | 2401:00
Oct 7, 2011 | 2402:00 | 2.263 | 0.64167 | 1.6213 | 39 | 32 | 150 | 3140.1674 | 208 | 61 | 76
Oct 7, 2011 | 2403:00
Oct 7, 2011 | 2404:00 | 2.284 | 0.64167 | 1.6423 | 39 | 32 | 150 | 3164.6674 | 208 | 61 | 76
Oct 7, 2011 | 2405:00
Oct 7, 2011 | 2406:00 | 2.279 | 0.64167 | 1.6373 | 39 | 34 | 150 | 3158.8341 | 209 | 62 | 77
Oct 7, 2011 | 2407:00
Oct 7, 2011 | 2408:00 | 2.215 | 0.64167 | 1.5733 | 39 | 34 | 150 | 3084.1674 | 209 | 63 | 77
Oct 7, 2011 | 2409:00
Oct 7, 2011 | 2410:00 | 2.19 | 0.64167 | 1.5483 | 45 | 41 | 150 | 3055.0007 | 209 | 63 | 78
Oct 7, 2011 | 2411:00
Oct 7, 2011 | 2412:00 | 2.168 | 0.64167 | 1.5263 | 45 | 41 | 151 | 3029.3341 | 209 | 64 | 78
Oct 7, 2011 | 2413:00
Oct 7, 2011 | 2414:00 | 2.135 | 0.64167 | 1.4933 | 47 | 41 | 151 | 2990.834 | 209 | 64 | 79
Oct 7, 2011 | 2415:00
Oct 7, 2011 | 2416:00 | 2.158 | 0.64167 | 1.5163 | 50 | 49 | 151 | 3017.6674 | 209 | 65 | 79
Oct 7, 2011 | 2417:00
Oct 7, 2011 | 2418:00 | 2.133 | 0.64167 | 1.4913 | 48 | 45 | 151 | 2988.5007 | 209 | 65 | 79
Oct 7, 2011 | 2419:00
Oct 7, 2011 | 2420:00 | 2.144 | 0.64167 | 1.5023 | 47 | 40 | 151 | 3001.334 | 209 | 65 | 79
Oct 7, 2011 | 2421:00
Oct 7, 2011 | 2422:00 | 2.146 | 0.64167 | 1.5043 | 44 | 38 | 151 | 3003.6674 | 209 | 65 | 77
Oct 7, 2011 | 2423:00
Oct 8, 2011 | 2400:00 | 2.136 | 0.64167 | 1.4943 | 44 | 37 | 150 | 2992.0007 | 209 | 64 | 77
Oct 8, 2011 | 2401:00
Oct 8, 2011 | 2402:00 | 2.144 | 0.64167 | 1.5023 | 44 | 37 | 150 | 3001.334 | 209 | 64 | 77
Oct 8, 2011 | 2403:00
Oct 8, 2011 | 2404:00 | 2.017 | 0.64167 | 1.3753 | 43 | 36 | 151 | 2853.1673 | 209 | 67 | 81
Oct 8, 2011 | 2405:00
Oct 8, 2011 | 2406:00 | 2.041 | 0.64167 | 1.3993 | 43 | 35 | 151 | 2881.1673 | 209 | 66 | 81
Oct 8, 2011 | 2407:00
Oct 8, 2011 | 2408:00 | 2.177 | 0.64167 | 1.5353 | 46 | 40 | 150 | 3039.8341 | 209 | 63 | 78
Oct 8, 2011 | 2409:00
Oct 8, 2011 | 2410:00 | 2.161 | 0.64167 | 1.5193 | 50.2 | 41 | 151 | 3021.1674 | 209 | 64 | 79
Oct 8, 2011 | 2411:00
Oct 8, 2011 | 2412:00 | 2.146 | 0.64167 | 1.5043 | 58.5 | 34 | 151 | 3003.6674 | 209 | 65 | 79
Oct 8, 2011 | 2413:00
Oct 8, 2011 | 2414:00 | 2.11 | 0.64167 | 1.4683 | 60.5 | 36 | 152 | 2961.6674 | 209 | 66 | 80
Oct 8, 2011 | 2415:00
Oct 8, 2011 | 2416:00 | 2.133 | 0.64167 | 1.4913 | 57.2 | 34 | 152 | 2988.5007 | 209 | 65 | 80
Oct 8, 2011 | 2417:00
Oct 8, 2011 | 2418:00 | 2.145 | 0.64167 | 1.5033 | 52 | 31 | 151 | 3002.5007 | 209 | 65 | 80
Oct 8, 2011 | 2419:00
Oct 8, 2011 | 2420:00 | 2.175 | 0.64167 | 1.5333 | 45 | 31 | 151 | 3037.5007 | 209 | 63 | 78
Oct 8, 2011 | 2421:00
Oct 8, 2011 | 2422:00 | 2.301 | 0.64167 | 1.6593 | 41 | 30 | 151 | 3184.5008 | 209 | 63 | 78
Oct 8, 2011 | 2423:00
Oct 9, 2011 | 2400:00 | 2.375 | 0.64167 | 1.7333 | 40 | 30 | 151 | 3270.8341 | 209 | 62 | 77
Oct 9, 2011 | 2401:00
Oct 9, 2011 | 2402:00 | 2.375 | 0.64167 | 1.7333 | 35 | 34.7 | 151 | 3270.8341 | 209 | 61 | 77
Oct 9, 2011 | 2403:00
Oct 9, 2011 | 2404:00 | 2.406 | 0.64167 | 1.7643 | 36 | 34.7 | 150 | 3307.0008 | 209 | 59 | 74
Oct 9, 2011 | 2405:00
Oct 9, 2011 | 2406:00 | 2.366 | 0.64167 | 1.7243 | 30 | Not Recorded | 150 | 3260.3341 | 209 | 59 | 74
Oct 9, 2011 | 2407:00
Oct 9, 2011 | 2408:00 | 2.345 | 0.64167 | 1.7033 | 34 | Not Recorded | 150 | 3235.8341 | 209 | 59 | 74
Oct 9, 2011 | 2409:00
Oct 9, 2011 | 2410:00 | 2.191 | 0.64167 | 1.5493 | 53 | 48.38 | 151 | 3056.1674 | 209 | 64 | 78
Oct 9, 2011 | 2411:00
Oct 9, 2011 | 2412:00 | 2.127 | 0.64167 | 1.4853 | 62.5 | 50 | 152 | 2981.5007 | 209 | 65 | 80
Oct 9, 2011 | 2413:00
Oct 9, 2011 | 2414:00 | 2.116 | 0.64167 | 1.4743 | 65 | 45 | 152 | 2968.6674 | 209 | 66 | 81
Oct 9, 2011 | 2415:00
Oct 9, 2011 | 2416:00 | 2.074 | 0.64167 | 1.4323 | 63 | 46.2 | 152 | 2919.6674 | 209 | 67 | 82
Oct 9, 2011 | 2417:00
Oct 9, 2011 | 2418:00 | 2.105 | 0.64167 | 1.4633 | 57.4 | 48.4 | 152 | 2955.834 | 209 | 66 | 81
Oct 9, 2011 | 2419:00
Oct 9, 2011 | 2420:00 | 2.246 | 0.64167 | 1.6043 | 47 | 42 | 151 | 3120.3341 | 209 | 63 | 77
Oct 9, 2011 | 2421:00
Oct 9, 2011 | 2422:00 | 2.308 | 0.64167 | 1.6663 | 44 | 41 | 151 | 3192.6674 | 209 | 63 | 77
Oct 9, 2011 | 2423:00
Oct 10, 2011 | 2400:00 | 2.272 | 0.64167 | 1.6303 | 40 | 39 | 150 | 3150.6674 | 209 | 62 | 76
Oct 10, 2011 | 2401:00
Oct 10, 2011 | 2402:00 | 2.292 | 0.64167 | 1.6503 | 40 | 36 | 150 | 3174.0008 | 209 | 62 | 76
Oct 10, 2011 | 2403:00
Oct 10, 2011 | 2404:00 | 2.298 | 0.64167 | 1.6563 | 40 | 35 | 151 | 3181.0008 | 209 | 61 | 76
Oct 10, 2011 | 2405:00
Oct 10, 2011 | 2406:00 | 2.243 | 0.64167 | 1.6013 | 42 | 35 | 151 | 3116.8341 | 209 | 61 | 76
Oct 10, 2011 | 2407:00
Oct 10, 2011 | 2408:00 | 2.22 | 0.64167 | 1.5783 | 48.1 | 42.2 | 151 | 3090.0007 | 209 | 63 | 78
Oct 10, 2011 | 2409:00
Oct 10, 2011 | 2410:00 | 2.154 | 0.64167 | 1.5123 | 52.5 | 43.1 | 151 | 3013.0007 | 209 | 65 | 79
Oct 10, 2011 | 2411:00
Oct 10, 2011 | 2412:00 | 2.047 | 0.64167 | 1.4053 | 51.1 | 46.5 | 152 | 2888.1673 | 209 | 67 | 82
Oct 10, 2011 | 2413:00
Oct 10, 2011 | 2414:00 | 2.042 | 0.64167 | 1.4003 | 52 | 50.5 | 152 | 2882.334 | 209 | 67 | 82
Oct 10, 2011 | 2415:00
Oct 10, 2011 | 2416:00 | 2.02 | 0.64167 | 1.3783 | 51 | 49.5 | 152 | 2856.6673 | 209 | 68 | 82
Oct 10, 2011 | 2417:00
Oct 10, 2011 | 2418:00 | 2.016 | 0.64167 | 1.3743 | 49.9 | 47 | 152 | 2852.0007 | 209 | 68 | 83
Oct 10, 2011 | 2419:00
Oct 10, 2011 | 2420:00 | 1.997 | 0.64167 | 1.3553 | 49 | 47 | 152 | 2829.834 | 209 | 68 | 83
Oct 10, 2011 | 2421:00
Oct 10, 2011 | 2422:00 | 2.057 | 0.64167 | 1.4153 | 48 | 47 | 152 | 2899.834 | 209 | 68 | 82
Oct 10, 2011 | 2423:00
Oct 11, 2011 | 2400:00 | 2.023 | 0.0071297 | 2.0159 | 48 | 45 | 151 | 2860.1673 | 209 | 67 | 81
Oct 11, 2011 | 2401:00
Oct 11, 2011 | 2402:00 | 0 | 0 | 0 | Not Recorded | Not Recorded | Not Recorded |  | Not Recorded | Not Recorded | Not Recorded
Oct 11, 2011 | 2403:00
Oct 11, 2011 | 2404:00 | 0 | 0 | 0 | Not Recorded | Not Recorded | Not Recorded |  | Not Recorded | Not Recorded | Not Recorded
Oct 11, 2011 | 2405:00
Oct 11, 2011 | 2406:00 | 0 | 0 | 0 | Not Recorded | Not Recorded | Not Recorded |  | Not Recorded | Not Recorded | Not Recorded
Oct 11, 2011 | 2407:00
Oct 11, 2011 | 2408:00 | 0 | 0 | 0 | Not Recorded | Not Recorded | Not Recorded |  | Not Recorded | Not Recorded | Not Recorded
Oct 11, 2011 | 2409:00
Oct 11, 2011 | 2410:00 | 0 | 0 | 0 | Not Recorded | Not Recorded | Not Recorded |  | Not Recorded | Not Recorded | Not Recorded
Oct 11, 2011 | 2411:00
Oct 11, 2011 | 2412:00 | 0 | 0 | 0 | Not Recorded | Not Recorded | Not Recorded |  | Not Recorded | Not Recorded | Not Recorded
Oct 11, 2011 | 2413:00
Oct 11, 2011 | 2414:00 | 0 | 0 | 0 | Not Recorded | Not Recorded | Not Recorded |  | Not Recorded | Not Recorded | Not Recorded
Oct 11, 2011 | 2415:00
Oct 11, 2011 | 2416:00 | 0 | 0 | 0 | Not Recorded | Not Recorded | Not Recorded |  | Not Recorded | Not Recorded | Not Recorded
Oct 11, 2011 | 2417:00
Oct 11, 2011 | 2418:00 | 0 | 0 | 0 | Not Recorded | Not Recorded | Not Recorded |  | Not Recorded | Not Recorded | Not Recorded
Oct 11, 2011 | 2419:00
Oct 11, 2011 | 2420:00 | 0 | 0 | 0 | Not Recorded | Not Recorded | Not Recorded |  | Not Recorded | Not Recorded | Not Recorded
Oct 11, 2011 | 2421:00
Oct 11, 2011 | 2422:00 | 0 | 0 | 0 | Not Recorded | Not Recorded | Not Recorded |  | Not Recorded | Not Recorded | Not Recorded
Oct 11, 2011 | 2423:00
Oct 12, 2011 | 2400:00 | 0 | 0 | 0 | Not Recorded | Not Recorded | Not Recorded |  | Not Recorded | Not Recorded | Not Recorded
Oct 12, 2011 | 2401:00
Oct 12, 2011 | 2402:00 | 0 | 0 | 0 | 43 | 35 | Not Recorded |  | Not Recorded | Not Recorded | Not Recorded
Oct 12, 2011 | 2403:00
Oct 12, 2011 | 2404:00 | 0 | 0 | 0 | 38 | 31 | Not Recorded |  | Not Recorded | Not Recorded | Not Recorded
Oct 12, 2011 | 2405:00
Oct 12, 2011 | 2406:00 | 0 | 0 | 0 | 35 | 26 | Not Recorded |  | Not Recorded | Not Recorded | Not Recorded
Oct 12, 2011 | 2407:00
Oct 12, 2011 | 2408:00 | 0 | 0 | 0 | 53 | 44.5 | Not Recorded |  | Not Recorded | Not Recorded | Not Recorded
Oct 12, 2011 | 2409:00
Oct 12, 2011 | 2410:00 | 0 | 0 | 0 | 64 | 56.1 | Not Recorded |  | Not Recorded | Not Recorded | Not Recorded
Oct 12, 2011 | 2411:00
Oct 12, 2011 | 2412:00 | 0 | 0 | 0 | 69 | 51.6 | Not Recorded |  | Not Recorded | Not Recorded | Not Recorded
Oct 12, 2011 | 2413:00
Oct 12, 2011 | 2414:00 | 2.044 | 0.29998 | 1.744 | 75 | 56.5 | 152 | 2884.6673 | 209 | 67 | 82
Oct 12, 2011 | 2415:00
Oct 12, 2011 | 2416:00 | 2.005 | 0.29998 | 1.705 | 70.7 | 51.3 | 152 | 2839.1673 | 209 | 68 | 83
Oct 12, 2011 | 2417:00
Oct 12, 2011 | 2418:00 | 2.039 | 0.29998 | 1.739 | 58.6 | 26.6 | 152 | 2878.834 | 209 | 67 | 82
Oct 12, 2011 | 2419:00
Oct 12, 2011 | 2420:00 | 2.202 | 0.29998 | 1.902 | 54 | 26 | 152 | 3069.0007 | 209 | 68 | 83
Oct 12, 2011 | 2421:00
Oct 12, 2011 | 2422:00 | 2.239 | 0.29998 | 1.939 | 49 | 22 | 152 | 3112.1674 | 209 | 68 | 82
Oct 12, 2011 | 2423:00
Oct 13, 2011 | 2400:00 | 2.223 | 0.64167 | 1.5813 | 42 | 19 | 151 | 3093.5007 | 209 | 67 | 81
Oct 13, 2011 | 2401:00
Oct 13, 2011 | 2402:00 | 2.29 | 0.64167 | 1.6483 | 40 | Not Recorded | 151 | 3171.6674 | 209 | 60 | 76
Oct 13, 2011 | 2403:00
Oct 13, 2011 | 2404:00 | 2.395 | 0.64167 | 1.7533 | 40 | Not Recorded | 151 | 3294.1675 | 209 | 60 | 75
Oct 13, 2011 | 2405:00
Oct 13, 2011 | 2406:00 | 2.402 | 0.64167 | 1.7603 | 40 | Not Recorded | 151 | 3302.3341 | 209 | 59 | 75
Oct 13, 2011 | 2407:00
Oct 13, 2011 | 2408:00 | 2.257 | 0.64167 | 1.6153 | 42.8 | Not Recorded | 151 | 3133.1674 | 209 | 60 | 75
Oct 13, 2011 | 2409:00
Oct 13, 2011 | 2410:00 | 2.111 | 0.64167 | 1.4693 | 68.8 | 55.7 | 152 | 2962.834 | 209 | 65 | 80
Oct 13, 2011 | 2411:00
Oct 13, 2011 | 2412:00 | 2.006 | 0.64167 | 1.3643 | 73.6 | 63.3 | 152 | 2840.334 | 209 | 67 | 82
Oct 13, 2011 | 2413:00
Oct 13, 2011 | 2414:00 | 1.81 | 0.64167 | 1.1683 | 81.4 | 60.2 | 150 | 2611.6673 | 209 | 70 | 85
Oct 13, 2011 | 2415:00
Oct 13, 2011 | 2416:00 | 1.741 | 0.64167 | 1.0993 | 76.5 | 58.2 | 149 | 2531.1672 | 209 | 71 | 85
Oct 13, 2011 | 2417:00
Oct 13, 2011 | 2418:00 | 1.848 | 0.64167 | 1.2063 | 65.5 | 53.6 | 151 | 2656.0006 | 209 | 69 | 84
Oct 13, 2011 | 2419:00
Oct 13, 2011 | 2420:00 | 2.034 | 0.64167 | 1.3923 | 59 | 50 | 152 | 2873.0007 | 209 | 67 | 81
Oct 13, 2011 | 2421:00
Oct 13, 2011 | 2422:00 | 2.057 | 0.64167 | 1.4153 | 55 | 47 | 151 | 2899.834 | 209 | 66 | 80
Oct 13, 2011 | 2423:00
Oct 14, 2011 | 2400:00 | 2.115 | 0.64167 | 1.4733 | 55 | 47 | 151 | 2967.5007 | 209 | 66 | 81
Oct 14, 2011 | 2401:00
Oct 14, 2011 | 2402:00 | 2.211 | 0.64167 | 1.5693 | 46 | 40 | 151 | 3079.5007 | 209 | 63 | 77
Oct 14, 2011 | 2403:00
Oct 14, 2011 | 2404:00 | 2.187 | 0.64167 | 1.5453 | 44 | 38 | 151 | 3051.5007 | 209 | 63 | 77
Oct 14, 2011 | 2405:00
Oct 14, 2011 | 2406:00 | 2.272 | 0.64167 | 1.6303 | 42 | 37 | 150 | 3150.6674 | 209 | 61 | 76
Oct 14, 2011 | 2407:00
Oct 14, 2011 | 2408:00 | 2.093 | 0.64167 | 1.4513 | 45.2 | 39.8 | 150 | 2941.834 | 209 | 62 | 76
Oct 14, 2011 | 2409:00
Oct 14, 2011 | 2410:00 | 2.026 | 0.64167 | 1.3843 | 69.3 | 54.3 | 152 | 2863.6673 | 209 | 67 | 82
Oct 14, 2011 | 2411:00
Oct 14, 2011 | 2412:00 | 1.664 | 0.64167 | 1.0223 | 79.7 | 67.5 | 149 | 2441.3339 | 209 | 70 | 84
Oct 14, 2011 | 2413:00
Oct 14, 2011 | 2414:00 | 1.683 | 0.64167 | 1.0413 | 85.1 | Not Recorded | 148 | 2463.5006 | 209 | 70 | 85
Oct 14, 2011 | 2415:00
Oct 14, 2011 | 2416:00 | 1.655 | 0.64167 | 1.0133 | 81.9 | 63.7 | 149 | 2430.8339 | 209 | 71 | 85
Oct 14, 2011 | 2417:00
Oct 14, 2011 | 2418:00 | 1.722 | 0.64167 | 1.0803 | 66.4 | 53 | 149 | 2509.0006 | 209 | 69 | 83
Oct 14, 2011 | 2419:00
Oct 14, 2011 | 2420:00 | 1.998 | 0.64167 | 1.3563 | 64 | 50 | 152 | 2831.0007 | 209 | 68 | 83
Oct 14, 2011 | 2421:00
Oct 14, 2011 | 2422:00 | 2.053 | 0.64167 | 1.4113 | 58 | 49 | 151 | 2895.1674 | 209 | 66 | 81
Oct 14, 2011 | 2423:00
Oct 15, 2011 | 2400:00 | 2.135 | 0.64167 | 1.4933 | 55 | 45 | 151 | 2990.834 | 209 | 64 | 79
Oct 15, 2011 | 2401:00
Oct 15, 2011 | 2402:00 | 2.132 | 0.64167 | 1.4903 | 54 | 46 | 151 | 2987.334 | 209 | 65 | 79
Oct 15, 2011 | 2403:00
Oct 15, 2011 | 2404:00 | 2.168 | 0.64167 | 1.5263 | 52 | 43 | 151 | 3029.3341 | 209 | 64 | 79
Oct 15, 2011 | 2405:00
Oct 15, 2011 | 2406:00 | 2.206 | 0.64167 | 1.5643 | 51 | 43 | 151 | 3073.6674 | 209 | 63 | 78
Oct 15, 2011 | 2407:00
Oct 15, 2011 | 2408:00 | 2.162 | 0.64167 | 1.5203 | 56.2 | 50.5 | 151 | 3022.3341 | 209 | 64 | 79
Oct 15, 2011 | 2409:00
Oct 15, 2011 | 2410:00 | 2.034 | 0.64167 | 1.3923 | 69.5 | 53.7 | 152 | 2873.0007 | 209 | 67 | 82
Oct 15, 2011 | 2411:00
Oct 15, 2011 | 2412:00 | 1.664 | 0.64167 | 1.0223 | 81.5 | 60.3 | 156 | 2441.3339 | 209 | 71 | 85
Oct 15, 2011 | 2413:00
Oct 15, 2011 | 2414:00 | 1.74 | 0.64167 | 1.0983 | 83.7 | 64.7 | 149 | 2530.0006 | 209 | 70 | 84
Oct 15, 2011 | 2415:00
Oct 15, 2011 | 2416:00 | 1.736 | 0.64167 | 1.0943 | 78.1 | 59.3 | 150 | 2525.3339 | 209 | 71 | 85
Oct 15, 2011 | 2417:00
Oct 15, 2011 | 2418:00 | 1.836 | 0.64167 | 1.1943 | 68.2 | 54.5 | 150 | 2642.0006 | 209 | 69 | 83
Oct 15, 2011 | 2419:00
Oct 15, 2011 | 2420:00 | 1.906 | 0.64167 | 1.2643 | 65 | 52 | 150 | 2723.6673 | 209 | 68 | 83
Oct 15, 2011 | 2421:00
Oct 15, 2011 | 2422:00 | 2.018 | 0.64167 | 1.3763 | 62 | 50 | 151 | 2854.334 | 209 | 67 | 81
Oct 15, 2011 | 2423:00
Oct 16, 2011 | 2400:00 | 2.123 | 0.64167 | 1.4813 | 50 | 42 | 151 | 2976.834 | 209 | 66 | 80
Oct 16, 2011 | 2401:00
Oct 16, 2011 | 2402:00 | 2.086 | 0.64167 | 1.4443 | 50 | 42 | 151 | 2933.6674 | 209 | 65 | 80
Oct 16, 2011 | 2403:00
Oct 16, 2011 | 2404:00 | 2.159 | 0.64167 | 1.5173 | 50 | 42 | 151 | 3018.8341 | 209 | 64 | 79
Oct 16, 2011 | 2405:00
Oct 16, 2011 | 2406:00 | 2.19 | 0.64167 | 1.5483 | 48 | 40 | 151 | 3055.0007 | 209 | 64 | 79
Oct 16, 2011 | 2407:00
Oct 16, 2011 | 2408:00 | 2.13 | 0.64167 | 1.4883 | 52 | 50 | 151 | 2985.0007 | 209 | 65 | 80
Oct 16, 2011 | 2409:00
Oct 16, 2011 | 2410:00 | 2.1 | 0.64167 | 1.4583 | 59.4 | 49.6 | 151 | 2950.0007 | 209 | 66 | 81
Oct 16, 2011 | 2411:00
Oct 16, 2011 | 2412:00 | 1.922 | 0.64167 | 1.2803 | 71.1 | 56.1 | 152 | 2742.334 | 209 | 69 | 84
Oct 16, 2011 | 2413:00
Oct 16, 2011 | 2414:00 | 1.707 | 0.64167 | 1.0653 | 74.7 | 58.9 | 149 | 2491.5006 | 209 | 71 | 85
Oct 16, 2011 | 2415:00
Oct 16, 2011 | 2416:00 | 1.705 | 0.64167 | 1.0633 | 72.9 | 58.9 | 149 | 2489.1672 | 209 | 70 | 85
Oct 16, 2011 | 2417:00
Oct 16, 2011 | 2418:00 | 1.418 | 0.64167 | 0.77633 | 59 | 54.4 | 147 | 2154.3338 | 209 | 71 | 85
Oct 16, 2011 | 2419:00
Oct 16, 2011 | 2420:00 | 1.843 | 0.64167 | 1.2013 | 53 | 48 | 146 | 2650.1673 | 209 | 69 | 83
Oct 16, 2011 | 2421:00
Oct 16, 2011 | 2422:00 | 1.859 | 0.64167 | 1.2173 | 50 | 47 | 148 | 2668.834 | 209 | 67 | 82
Oct 16, 2011 | 2423:00
Oct 16, 2011 | 2400:00 | 2.032 | 0.64167 | 1.3903 | 45 | 44 | 150 | 2870.6673 | 209 | 66 | 80
Oct 17, 2011 | 2401:00
Oct 17, 2011 | 2402:00 | 2.151 | 0.64167 | 1.5093 | 42 | 40 | 150 | 3009.5007 | 209 | 63 | 78
Oct 17, 2011 | 2403:00
Oct 17, 2011 | 2404:00 | 2.199 | 0.64167 | 1.5573 | 39 | 37 | 150 | 3065.5007 | 209 | 62 | 77
Oct 17, 2011 | 2405:00
Oct 17, 2011 | 2406:00 | 2.225 | 0.64167 | 1.5833 | 37 | 36 | 149 | 3095.8341 | 209 | 61 | 76
Oct 17, 2011 | 2407:00
Oct 17, 2011 | 2408:00 | 2.193 | 0.64167 | 1.5513 | 47.3 | 39 | 150 | 3058.5007 | 209 | 62 | 77
Oct 17, 2011 | 2409:00
Oct 17, 2011 | 2410:00 | 2.056 | 0.64167 | 1.4143 | 55.1 | 50 | 151 | 2898.6674 | 209 | 66 | 81
Oct 17, 2011 | 2411:00
Oct 17, 2011 | 2412:00 | 2.057 | 0.64167 | 1.4153 | 63.7 | 53.2 | 152 | 2899.834 | 209 | 67 | 81
Oct 17, 2011 | 2413:00
Oct 17, 2011 | 2414:00 | 2.159 | 0.64167 | 1.5173 | 66.6 | 53.9 | 152 | 3018.8341 | 209 | 66 | 80
Oct 17, 2011 | 2415:00
Oct 17, 2011 | 2416:00 | 2.066 | 0.64167 | 1.4243 | 66.1 | 53.2 | 152 | 2910.334 | 209 | 67 | 82
Oct 17, 2011 | 2417:00
Oct 17, 2011 | 2418:00 | 2.11 | 0.64167 | 1.4683 | 57.2 | 50 | 152 | 2961.6674 | 209 | 66 | 81
Oct 17, 2011 | 2419:00
Oct 17, 2011 | 2420:00 | 2.24 | 0.64167 | 1.5983 | 50 | 45 | 151 | 3113.3341 | 209 | 62 | 77
Oct 17, 2011 | 2421:00
Oct 17, 2011 | 2422:00 | 2.314 | 0.64167 | 1.6723 | 44 | 37 | 151 | 3199.6674 | 209 | 61 | 76
Oct 17, 2011 | 2423:00
Oct 18, 2011 | 2400:00 | 2.317 | 0.64167 | 1.6753 | 42 | 36 | 151 | 3203.1674 | 209 | 61 | 76
Oct 18, 2011 | 2401:00
Oct 18, 2011 | 2402:00 | 2.35 | 0.64167 | 1.7083 | 42 | 36 | 150 | 3241.6674 | 209 | 60 | 75
Oct 18, 2011 | 2403:00
Oct 18, 2011 | 2404:00 | 2.409 | 0.64167 | 1.7673 | 31 | 28 | 150 | 3310.5008 | 209 | 59 | 74
Oct 18, 2011 | 2405:00
Oct 18, 2011 | 2406:00 | 2.408 | 0.64167 | 1.7663 | 36 | 32 | 150 | 3309.3341 | 209 | 59 | 74
Oct 18, 2011 | 2407:00
Oct 18, 2011 | 2408:00 | 2.317 | 0.64167 | 1.6753 | 53.6 | 50 | 151 | 3203.1674 | 209 | 61 | 76
Oct 18, 2011 | 2409:00
Oct 18, 2011 | 2410:00 | 2.125 | 0.64167 | 1.4833 | 61.2 | 48.1 | 151 | 2979.1674 | 209 | 64 | 79
Oct 18, 2011 | 2411:00
Oct 18, 2011 | 2412:00 | 2.116 | 0.64167 | 1.4743 | 68.4 | 54.4 | 152 | 2968.6674 | 209 | 66 | 81
Oct 18, 2011 | 2413:00
Oct 18, 2011 | 2414:00 | 2.003 | 0.64167 | 1.3613 | 73.3 | 58.3 | 153 | 2836.834 | 209 | 68 | 83
Oct 18, 2011 | 2415:00
Oct 18, 2011 | 2416:00 | 2.008 | 0.64167 | 1.3663 | 71.5 | 56.8 | 153 | 2842.6673 | 209 | 68 | 83
Oct 18, 2011 | 2417:00
Oct 18, 2011 | 2418:00 | 1.992 | 0.64167 | 1.3503 | 62.5 | 52.9 | 153 | 2824.0007 | 209 | 68 | 83
Oct 18, 2011 | 2419:00
Oct 18, 2011 | 2420:00 | 2.219 | 0.64167 | 1.5773 | 54 | 46 | 152 | 3088.8341 | 209 | 64 | 79
Oct 18, 2011 | 2421:00
Oct 18, 2011 | 2422:00 | 2.301 | 0.64167 | 1.6593 | 47 | 40 | 152 | 3184.5008 | 209 | 62 | 77
Oct 18, 2011 | 2423:00
Oct 19, 2011 | 2400:00 | 2.298 | 0.64167 | 1.6563 | 47 | 40 | 151 | 3181.0008 | 209 | 62 | 77
Oct 19, 2011 | 2401:00
Oct 19, 2011 | 2402:00 | 2.309 | 0.64167 | 1.6673 | 44 | 38 | 151 | 3193.8341 | 209 | 61 | 76
Oct 19, 2011 | 2403:00
Oct 19, 2011 | 2404:00 | 2.328 | 0.64167 | 1.6863 | 39 | 35 | 151 | 3216.0008 | 209 | 60 | 75
Oct 19, 2011 | 2405:00
Oct 19, 2011 | 2406:00 | 2.345 | 0.64167 | 1.7033 | 39 | 35 | 151 | 3235.8341 | 209 | 60 | 75
Oct 19, 2011 | 2407:00
Oct 19, 2011 | 2408:00 | 2.356 | 0.64167 | 1.7143 | 56.7 | 49.9 | 151 | 3248.6675 | 209 | 60 | 75
Oct 19, 2011 | 2409:00
Oct 19, 2011 | 2410:00 | 2.121 | 0.64167 | 1.4793 | 61.9 | 53.8 | 152 | 2974.5007 | 209 | 65 | 80
Oct 19, 2011 | 2411:00
Oct 19, 2011 | 2412:00 | 1.85 | 0.64167 | 1.2083 | 76.9 | 58.5 | 153 | 2658.3339 | 209 | 68 | 83
Oct 19, 2011 | 2413:00
Oct 19, 2011 | 2414:00 | 1.82 | 0.64167 | 1.1783 | 73.6 | 58 | 150 | 2623.3339 | 209 | 69 | 83
Oct 19, 2011 | 2415:00
Oct 19, 2011 | 2416:00 | 1.831 | 0.64167 | 1.1893 | 69.5 | 56.9 | 149 | 2636.1673 | 208 | 69 | 83
Oct 19, 2011 | 2417:00
Oct 19, 2011 | 2418:00 | 1.837 | 0.64167 | 1.1953 | 63.7 | 53.4 | 149 | 2643.1673 | 209 | 69 | 83
Oct 19, 2011 | 2419:00
Oct 19, 2011 | 2420:00 | 2.076 | 0.64167 | 1.4343 | 55 | 46 | 151 | 2922.0007 | 209 | 65 | 80
Oct 19, 2011 | 2421:00
Oct 19, 2011 | 2422:00 | 2.164 | 0.64167 | 1.5223 | 53 | 44 | 151 | 3024.6674 | 209 | 65 | 80
Oct 19, 2011 | 2423:00
Oct 20, 2011 | 2400:00 | 2.179 | 0.64167 | 1.5373 | 48 | 40 | 150 | 3042.1674 | 209 | 63 | 78
Oct 20, 2011 | 2401:00
Oct 20, 2011 | 2402:00 | 2.237 | 0.64167 | 1.5953 | 45 | 38 | 150 | 3109.8341 | 209 | 61 | 76
Oct 20, 2011 | 2403:00
Oct 20, 2011 | 2404:00 | 2.267 | 0.64167 | 1.6253 | 41 | 36 | 150 | 3144.8341 | 209 | 59 | 75
Oct 20, 2011 | 2405:00
Oct 20, 2011 | 2406:00 | 2.283 | 0.64167 | 1.6413 | 38 | 34 | 150 | 3163.5008 | 209 | 57 | 74
Oct 20, 2011 | 2407:00
Oct 20, 2011 | 2408:00 | 2.332 | 0.64167 | 1.6903 | 46 | 38 | 150 | 3220.6674 | 209 | 59 | 74
Oct 20, 2011 | 2409:00
Oct 20, 2011 | 2410:00 | 2.108 | 0.64167 | 1.4663 | 64 | 54 | 151 | 2959.334 | 209 | 65 | 80
Oct 20, 2011 | 2411:00
Oct 20, 2011 | 2412:00 | 1.905 | 0.64167 | 1.2633 | 74 | 58 | 150 | 2722.5006 | 209 | 68 | 82
Oct 20, 2011 | 2413:00
Oct 20, 2011 | 2414:00 | 1.906 | 0.64167 | 1.2643 | 72 | 58 | 150 | 2723.6673 | 209 | 68 | 82
Oct 20, 2011 | 2415:00
Oct 20, 2011 | 2416:00 | 1.95 | 0.64167 | 1.3083 | 67 | 56 | 149 | 2775.0006 | 209 | 68 | 82
Oct 20, 2011 | 2417:00
Oct 20, 2011 | 2418:00 | 2.038 | 0.64167 | 1.3963 | 59 | 54 | 151 | 2877.6673 | 209 | 66 | 80
Oct 20, 2011 | 2419:00
Oct 20, 2011 | 2420:00 | 2.109 | 0.64167 | 1.4673 | 54 | 50.1 | 150 | 2960.5007 | 209 | 64 | 78
Oct 20, 2011 | 2421:00
Oct 20, 2011 | 2422:00 | 2.121 | 0.64167 | 1.4793 | 51 | 44 | 150 | 2974.5007 | 209 | 63 | 78
Oct 20, 2011 | 2423:00
Oct 21, 2011 | 2400:00 | 2.153 | 0.64167 | 1.5113 | 51.5 | 43.6 | 150 | 3011.8341 | 209 | 63 | 77
Oct 21, 2011 | 2401:00
Oct 21, 2011 | 2402:00 | 2.256 | 0.64167 | 1.6143 | 44.3 | 39.3 | 150 | 3132.0008 | 209 | 61 | 76
Oct 21, 2011 | 2403:00
Oct 21, 2011 | 2404:00 | 2.309 | 0.64167 | 1.6673 | 39.4 | 35.2 | 150 | 3193.8341 | 209 | 60 | 75
Oct 21, 2011 | 2405:00
Oct 21, 2011 | 2406:00 | 2.35 | 0.64167 | 1.7083 | 36 | 33 | 149 | 3241.6674 | 209 | 59 | 74
Oct 21, 2011 | 2407:00
Oct 21, 2011 | 2408:00 | 2.242 | 0.64167 | 1.6003 | 39 | 36 | 150 | 3115.6674 | 209 | 60 | 74
Oct 21, 2011 | 2409:00
Oct 21, 2011 | 2410:00 | 2.117 | 0.64167 | 1.4753 | 68 | 52 | 151 | 2969.834 | 209 | 64 | 79
Oct 21, 2011 | 2411:00
Oct 21, 2011 | 2412:00 | 1.94 | 0.64167 | 1.2983 | 77 | 58 | 152 | 2763.334 | 209 | 68 | 82
Oct 21, 2011 | 2413:00
Oct 21, 2011 | 2414:00 | 1.831 | 0.64167 | 1.1893 | 75 | 59 | 149 | 2636.1673 | 209 | 68 | 82
Oct 21, 2011 | 2415:00
Oct 21, 2011 | 2416:00 | 1.831 | 0.64167 | 1.1893 | 71 | 57 | 149 | 2636.1673 | 209 | 68 | 82
Oct 21, 2011 | 2417:00
Oct 21, 2011 | 2418:00 | 1.899 | 0.64167 | 1.2573 | 60 | 54 | 151 | 2715.5006 | 209 | 66 | 80
Oct 21, 2011 | 2419:00
Oct 21, 2011 | 2420:00 | 2.178 | 0.64167 | 1.5363 | 53.5 | 46.4 | 151 | 3041.0007 | 209 | 64 | 79
Oct 21, 2011 | 2421:00
Oct 21, 2011 | 2422:00 | 2.099 | 0.64167 | 1.4573 | 50 | 44.2 | 151 | 2948.834 | 209 | 64 | 79
Oct 21, 2011 | 2423:00
Oct 22, 2011 | 2400:00 | 2.154 | 0.64167 | 1.5123 | 48.6 | 43.4 | 150 | 3013.0007 | 209 | 63 | 78
Oct 22, 2011 | 2401:00
Oct 22, 2011 | 2402:00 | 2.306 | 0.64167 | 1.6643 | 41 | 36.2 | 150 | 3190.3341 | 209 | 61 | 76
Oct 22, 2011 | 2403:00
Oct 22, 2011 | 2404:00 | 2.323 | 0.64167 | 1.6813 | 38 | 34 | 150 | 3210.1674 | 209 | 60 | 74
Oct 22, 2011 | 2405:00
Oct 22, 2011 | 2406:00 | 2.366 | 0.64167 | 1.7243 | 39 | 26 | 150 | 3260.3341 | 209 | 59 | 74
Oct 22, 2011 | 2407:00
Oct 22, 2011 | 2408:00 | 2.35 | 0.64167 | 1.7083 | 39 | 26 | 150 | 3241.6674 | 209 | 62 | 77
Oct 22, 2011 | 2409:00
Oct 22, 2011 | 2410:00 | 1.998 | 0.64167 | 1.3563 | 62 | 50 | 152 | 2831.0007 | 209 | 65 | 80
Oct 22, 2011 | 2411:00
Oct 22, 2011 | 2412:00 | 1.961 | 0.64167 | 1.3193 | 84 | 56 | 152 | 2787.834 | 209 | 67 | 81
Oct 22, 2011 | 2413:00
Oct 22, 2011 | 2414:00 | 1.893 | 0.64167 | 1.2513 | 77 | 58 | 149 | 2708.5006 | 209 | 68 | 82
Oct 22, 2011 | 2415:00
Oct 22, 2011 | 2416:00 | 1.885 | 0.64167 | 1.2433 | 67 | 58 | 149 | 2699.1673 | 209 | 68 | 83
Oct 22, 2011 | 2417:00
Oct 22, 2011 | 2418:00 | 2.021 | 0.64167 | 1.3793 | 60 | 56 | 152 | 2857.834 | 209 | 67 | 81
Oct 22, 2011 | 2419:00
Oct 22, 2011 | 2420:00 | 2.194 | 0.64167 | 1.5523 | 50 | 44.1 | 151 | 3059.6674 | 209 | 63 | 78
Oct 22, 2011 | 2421:00
Oct 22, 2011 | 2422:00 | 2.227 | 0.64167 | 1.5853 | 48 | 44 | 151 | 3098.1674 | 209 | 62 | 76
Oct 22, 2011 | 2423:00
Oct 23, 2011 | 2400:00 | 2.288 | 0.64167 | 1.6463 | 47 | 44.1 | 150 | 3169.3341 | 209 | 61 | 75
Oct 23, 2011 | 2401:00
Oct 23, 2011 | 2402:00 | 2.375 | 0.64167 | 1.7333 | 39 | 35.2 | 150 | 3270.8341 | 209 | 60 | 75
Oct 23, 2011 | 2403:00
Oct 23, 2011 | 2404:00 | 2.38 | 0.64167 | 1.7383 | 37 | 34 | 150 | 3276.6675 | 209 | 60 | 75
Oct 23, 2011 | 2405:00
Oct 23, 2011 | 2406:00 | 2.392 | 0.64167 | 1.7503 | 38.9 | 29 | 150 | 3290.6675 | 209 | 59 | 74
Oct 23, 2011 | 2407:00
Oct 23, 2011 | 2408:00 | 2.301 | 0.64167 | 1.6593 | 37 | 29 | 150 | 3184.5008 | 209 | 59 | 74
Oct 23, 2011 | 2409:00
Oct 23, 2011 | 2410:00 | 2.181 | 0.64167 | 1.5393 | 61 | 54 | 152 | 3044.5007 | 209 | 65 | 80
Oct 23, 2011 | 2411:00
Oct 23, 2011 | 2412:00 | 2.067 | 0.64167 | 1.4253 | 69 | 58 | 149 | 2911.5007 | 209 | 69 | 83
Oct 23, 2011 | 2413:00
Oct 23, 2011 | 2414:00 | 1.859 | 0.64167 | 1.2173 | 73 | 57 | 149 | 2668.834 | 207 | 69 | 83
Oct 23, 2011 | 2415:00
Oct 23, 2011 | 2416:00 | 1.842 | 0.64167 | 1.2003 | 72 | 55 | 147 | 2649.0006 | 209 | 68 | 82
Oct 23, 2011 | 2417:00
Oct 23, 2011 | 2418:00 | 1.961 | 0.64167 | 1.3193 | 63 | 48 | 149 | 2787.834 | 209 | 67 | 81
Oct 23, 2011 | 2419:00
Oct 23, 2011 | 2420:00 | 2.167 | 0.64167 | 1.5253 | 53.5 | 46.5 | 151 | 3028.1674 | 209 | 63 | 78
Oct 23, 2011 | 2421:00
Oct 23, 2011 | 2422:00 | 2.18 | 0.64167 | 1.5383 | 51.3 | 43.2 | 151 | 3043.3341 | 209 | 64 | 78
Oct 23, 2011 | 2423:00
Oct 24, 2011 | 2400:00 | 2.191 | 0.64167 | 1.5493 | 48.6 | 43.1 | 151 | 3056.1674 | 209 | 63 | 78
Oct 24, 2011 | 2401:00
Oct 24, 2011 | 2402:00 | 2.306 | 0.64167 | 1.6643 | 46.1 | 42 | 151 | 3190.3341 | 209 | 62 | 77
Oct 24, 2011 | 2403:00
Oct 24, 2011 | 2404:00 | 2.294 | 0.64167 | 1.6523 | 44 | 40.2 | 150 | 3176.3341 | 209 | 60 | 75
Oct 24, 2011 | 2405:00
Oct 24, 2011 | 2406:00 | 2.371 | 0.64167 | 1.7293 | 40.7 | 38.1 | 150 | 3266.1675 | 209 | 59 | 74
Oct 24, 2011 | 2407:00
Oct 24, 2011 | 2408:00 | 2.281 | 0.64167 | 1.6393 | 48 | 46 | 150 | 3161.1674 | 209 | 62 | 77
Oct 24, 2011 | 2409:00
Oct 24, 2011 | 2410:00 | 2.157 | 0.64167 | 1.5153 | 60 | 49 | 151 | 3016.5007 | 209 | 64 | 79
Oct 24, 2011 | 2411:00
Oct 24, 2011 | 2412:00 | 2.022 | 0.64167 | 1.3803 | 69 | 57 | 152 | 2859.0007 | 208 | 67 | 82
Oct 24, 2011 | 2413:00
Oct 24, 2011 | 2414:00 | 1.867 | 0.64167 | 1.2253 | 69 | 58 | 149 | 2678.1673 | 209 | 67 | 82
Oct 24, 2011 | 2415:00
Oct 24, 2011 | 2416:00 | 1.902 | 0.64167 | 1.2603 | 66 | 58 | 149 | 2719.0006 | 209 | 67 | 81
Oct 24, 2011 | 2417:00
Oct 24, 2011 | 2418:00 | 1.954 | 0.64167 | 1.3123 | 61 | 57 | 149 | 2779.6673 | 209 | 68 | 82
Oct 24, 2011 | 2419:00
Oct 24, 2011 | 2420:00 | 2.015 | 0.64167 | 1.3733 | 49 | 44.1 | 151 | 2850.834 | 209 | 66 | 80
Oct 24, 2011 | 2421:00
Oct 24, 2011 | 2422:00 | 2.02 | 0.64167 | 1.3783 | 46 | 41.8 | 151 | 2856.6673 | 209 | 66 | 81
Oct 24, 2011 | 2423:00
Oct 25, 2011 | 2400:00 | 2.142 | 0.64167 | 1.5003 | 42.5 | 40.7 | 151 | 2999.0007 | 209 | 64 | 78
Oct 25, 2011 | 2401:00
Oct 25, 2011 | 2402:00 | 2.211 | 0.64167 | 1.5693 | 43 | 41.1 | 150 | 3079.5007 | 209 | 62 | 77
Oct 25, 2011 | 2403:00
Oct 25, 2011 | 2404:00 | 2.291 | 0.64167 | 1.6493 | 39.2 | 36.1 | 150 | 3172.8341 | 209 | 60 | 75
Oct 25, 2011 | 2405:00
Oct 25, 2011 | 2406:00 | 2.327 | 0.64167 | 1.6853 | 39.4 | 36 | 150 | 3214.8341 | 209 | 60 | 75
Oct 25, 2011 | 2407:00
Oct 25, 2011 | 2408:00 | 2.366 | 0.64167 | 1.7243 | 40 | 38 | 150 | 3260.3341 | 209 | 59 | 74
Oct 25, 2011 | 2409:00
Oct 25, 2011 | 2410:00 | 2.337 | 0.64167 | 1.6953 | 46 | 38 | 150 | 3226.5008 | 209 | 60 | 75
Oct 25, 2011 | 2411:00
Oct 25, 2011 | 2412:00 | 2.288 | 0.64167 | 1.6463 | 53 | 49 | 151 | 3169.3341 | 209 | 60 | 75
Oct 25, 2011 | 2413:00
Oct 25, 2011 | 2414:00 | 2.131 | 0.64167 | 1.4893 | 58 | 55 | 152 | 2986.1674 | 209 | 65 | 80
Oct 25, 2011 | 2415:00
Oct 25, 2011 | 2416:00 | 2.119 | 0.64167 | 1.4773 | 52 | 54 | 152 | 2972.1674 | 209 | 63 | 78
Oct 25, 2011 | 2417:00
Oct 25, 2011 | 2418:00 | 2.356 | 0.64167 | 1.7143 | 42 | 40 | 151 | 3248.6675 | 209 | 61 | 76
Oct 25, 2011 | 2419:00
Oct 25, 2011 | 2420:00 | 2.389 | 0.64167 | 1.7473 | 36.7 | 34.7 | 151 | 3287.1675 | 209 | 59 | 74
Oct 25, 2011 | 2421:00
Oct 25, 2011 | 2422:00 | 2.283 | 0.64167 | 1.6413 | 38.7 | 35.1 | 151 | 3163.5008 | 209 | 61 | 76
Oct 25, 2011 | 2423:00
Oct 26, 2011 | 2400:00 | 2.306 | 0.64167 | 1.6643 | 35.1 | 33.1 | 151 | 3190.3341 | 209 | 60 | 75
Oct 26, 2011 | 2401:00
Oct 26, 2011 | 2402:00 | 2.35 | 0.64167 | 1.7083 | 30 | 26 | 151 | 3241.6674 | 209 | 59 | 74
Oct 26, 2011 | 2403:00
Oct 26, 2011 | 2404:00 | 2.389 | 0.64167 | 1.7473 | 29 | 26.3 | 151 | 3287.1675 | 209 | 59 | 74
Oct 26, 2011 | 2405:00
Oct 26, 2011 | 2406:00 | 2.375 | 0.64167 | 1.7333 | 27 | 24.2 | 151 | 3270.8341 | 209 | 59 | 74
Oct 26, 2011 | 2407:00
Oct 26, 2011 | 2408:00 | 2.382 | 0.64167 | 1.7403 | 26 | 23 | 151 | 3279.0008 | 209 | 59 | 74
Oct 26, 2011 | 2409:00
Oct 26, 2011 | 2410:00 | 2.398 | 0.64167 | 1.7563 | 43 | 35 | 151 | 3297.6675 | 209 | 59 | 74
Oct 26, 2011 | 2411:00
Oct 26, 2011 | 2412:00 | 2.378 | 0.64167 | 1.7363 | 48 | 41 | 151 | 3274.3341 | 209 | 59 | 75
Oct 26, 2011 | 2413:00
Oct 26, 2011 | 2414:00 | 2.362 | 0.64167 | 1.7203 | 49 | 45 | 151 | 3255.6675 | 209 | 60 | 75
Oct 26, 2011 | 2415:00
Oct 26, 2011 | 2416:00 | 2.384 | 0.64167 | 1.7423 | 49 | 45 | 151 | 3281.3341 | 209 | 61 | 76
Oct 26, 2011 | 2417:00
Oct 26, 2011 | 2418:00 | 2.397 | 0.64167 | 1.7553 | 41 | 39 | Not Recorded | 3296.5008 | Not Recorded | Not Recorded | Not Recorded
Oct 26, 2011 | 2419:00
Oct 26, 2011 | 2420:00 | 2.407 | 0.64167 | 1.7653 | 34.2 | 30.7 | 151 | 3308.1675 | 209 | 59 | 74
Oct 26, 2011 | 2421:00
Oct 26, 2011 | 2422:00 | 2.401 | 0.64167 | 1.7593 | 31.5 | 28.7 | 151 | 3301.1675 | 209 | 59 | 74
Oct 26, 2011 | 2423:00
Oct 27, 2011 | 2400:00 | 2.407 | 0.64167 | 1.7653 | 30 | 28.6 | 151 | 3308.1675 | 209 | 59 | 74
Oct 27, 2011 | 2401:00
Oct 27, 2011 | 2402:00 | 2.395 | 0.64167 | 1.7533 | 28.8 | 26.2 | 151 | 3294.1675 | 209 | 59 | 74
Oct 27, 2011 | 2403:00
Oct 27, 2011 | 2404:00 | 2.406 | 0.64167 | 1.7643 | 31 | 29.7 | 151 | 3307.0008 | 209 | 59 | 74
Oct 27, 2011 | 2405:00
Oct 27, 2011 | 2406:00 | 2.379 | 0.64167 | 1.7373 | 30.8 | 26.6 | 151 | 3275.5008 | 209 | 59 | 74
Oct 27, 2011 | 2407:00
Oct 27, 2011 | 2408:00 | 2.384 | 0.64167 | 1.7423 | 25 | 22 | 151 | 3281.3341 | 209 | 59 | 74
Oct 27, 2011 | 2409:00
Oct 27, 2011 | 2410:00 | 2.38 | 0.64167 | 1.7383 | Not Recorded | Not Recorded | Not Recorded | 3276.6675 | Not Recorded | Not Recorded | Not Recorded
Oct 27, 2011 | 2411:00
Oct 27, 2011 | 2412:00 | 2.31 | 0.64167 | 1.6683 | Not Recorded | Not Recorded | Not Recorded | 3195.0008 | Not Recorded | Not Recorded | Not Recorded
Oct 27, 2011 | 2413:00
Oct 27, 2011 | 2414:00 | 2.278 | 0.64167 | 1.6363 | Not Recorded | Not Recorded | Not Recorded | 3157.6674 | Not Recorded | Not Recorded | Not Recorded
Oct 27, 2011 | 2415:00
Oct 27, 2011 | 2416:00 | 2.299 | 0.64167 | 1.6573 | 56 | 48 | 152 | 3182.1674 | 209 | 62 | 77
Oct 27, 2011 | 2417:00
Oct 27, 2011 | 2418:00 | 2.356 | 0.64167 | 1.7143 | 45 | 38 | 151 | 3248.6675 | 209 | 60 | 75
Oct 27, 2011 | 2419:00
Oct 27, 2011 | 2420:00 | 2.42 | 0.64167 | 1.7783 | 38.7 | 36 | 151 | 3323.3341 | 209 | 59 | 74
Oct 27, 2011 | 2421:00
Oct 27, 2011 | 2422:00 | 2.427 | 0.64167 | 1.7853 | 34.9 | 31 | 151 | 3331.5008 | 209 | 59 | 74
Oct 27, 2011 | 2423:00
Oct 28, 2011 | 2400:00 | 2.412 | 0.64167 | 1.7703 | 34 | 30 | 151 | 3314.0008 | 209 | 60 | 75
Oct 28, 2011 | 2401:00
Oct 28, 2011 | 2402:00 | 2.413 | 0.64167 | 1.7713 | 29.9 | 26 | 151 | 3315.1675 | 209 | 59 | 74
Oct 28, 2011 | 2403:00
Oct 28, 2011 | 2404:00 | 2.401 | 0.64167 | 1.7593 | 27.7 | 25 | 151 | 3301.1675 | 209 | 59 | 74
Oct 28, 2011 | 2405:00
Oct 28, 2011 | 2406:00 | 2.402 | 0.64167 | 1.7603 | 27.7 | 24 | 151 | 3302.3341 | 209 | 59 | 74
Oct 28, 2011 | 2407:00
Oct 28, 2011 | 2408:00 | 2.402 | 0.64167 | 1.7603 | 25 | 22 | 151 | 3302.3341 | 209 | 60 | 75
Oct 28, 2011 | 2409:00
Oct 28, 2011 | 2410:00 | 2.378 | 0.64167 | 1.7363 | 54 | 45 | 151 | 3274.3341 | 209 | 60 | 75
Oct 28, 2011 | 2411:00
Oct 28, 2011 | 2412:00 | 2.33 | 0.64167 | 1.6883 | 56 | 46 | 151 | 3218.3341 | 209 | 61 | 76
Oct 28, 2011 | 2413:00
Oct 28, 2011 | 2414:00 | 2.204 | 0.64167 | 1.5623 | 65 | 52 | 152 | 3071.3341 | 209 | 64 | 79
Oct 28, 2011 | 2415:00
Oct 28, 2011 | 2416:00 | 2.184 | 0.64167 | 1.5423 | 63 | 50 | 152 | 3048.0007 | 209 | 64 | 79
Oct 28, 2011 | 2417:00
Oct 28, 2011 | 2418:00 | 2.308 | 0.64167 | 1.6663 | 48 | 40 | 151 | 3192.6674 | 209 | 61 | 76
Oct 28, 2011 | 2419:00
Oct 28, 2011 | 2420:00 | 2.367 | 0.64167 | 1.7253 | 46.3 | 42.7 | 151 | 3261.5008 | 209 | 60 | 90
Oct 28, 2011 | 2421:00
Oct 28, 2011 | 2422:00 | 2.302 | 0.64167 | 1.6603 | 45 | 42 | 151 | 3185.6674 | 209 | 60 | 75
Oct 28, 2011 | 2423:00
Oct 29, 2011 | 2400:00 | 2.41 | 0.64167 | 1.7683 | 37.3 | 32.4 | 151 | 3311.6675 | 209 | 59 | 74
Oct 29, 2011 | 2401:00
Oct 29, 2011 | 2402:00 | 2.428 | 0.64167 | 1.7863 | 34.7 | 32 | 151 | 3332.6675 | 209 | 60 | 75
Oct 29, 2011 | 2403:00
Oct 29, 2011 | 2404:00 | 2.432 | 0.64167 | 1.7903 | 32.4 | 30.2 | 151 | 3337.3341 | 209 | 59 | 74
Oct 29, 2011 | 2405:00
Oct 29, 2011 | 2406:00 | 2.409 | 0.64167 | 1.7673 | 32.4 | 30 | 151 | 3310.5008 | 209 | 59 | 74
Oct 29, 2011 | 2407:00
Oct 29, 2011 | 2408:00 | 2.415 | 0.64167 | 1.7733 | 32 | 29 | 151 | 3317.5008 | 209 | 59 | 74
Oct 29, 2011 | 2409:00
Oct 29, 2011 | 2410:00 | 2.275 | 0.64167 | 1.6333 | 60 | 49 | 152 | 3154.1674 | 209 | 62 | 77
Oct 29, 2011 | 2411:00
Oct 29, 2011 | 2412:00 | 2.201 | 0.64167 | 1.5593 | 66 | 53 | 152 | 3067.8341 | 209 | 65 | 80
Oct 29, 2011 | 2413:00
Oct 29, 2011 | 2414:00 | 2.024 | 0.64167 | 1.3823 | 67 | 54 | 152 | 2861.334 | 209 | 67 | 81
Oct 29, 2011 | 2415:00
Oct 29, 2011 | 2416:00 | 2.054 | 0.64167 | 1.4123 | 63 | 51 | 153 | 2896.334 | 209 | 67 | 82
Oct 29, 2011 | 2417:00
Oct 29, 2011 | 2418:00 | 2.124 | 0.64167 | 1.4823 | 55 | 45 | 153 | 2978.0007 | 209 | 66 | 81
Oct 29, 2011 | 2419:00
Oct 29, 2011 | 2420:00 | 2.189 | 0.64167 | 1.5473 | 49.9 | 44.7 | 152 | 3053.8341 | 209 | 64 | 79
Oct 29, 2011 | 2421:00
Oct 29, 2011 | 2422:00 | 2.164 | 0.64167 | 1.5223 | 47.9 | 43.5 | 152 | 3024.6674 | 209 | 64 | 79
Oct 29, 2011 | 2423:00
Oct 30, 2011 | 2400:00 | 2.342 | 0.64167 | 1.7003 | 41.9 | 38.1 | 152 | 3232.3341 | 209 | 61 | 76
Oct 30, 2011 | 2401:00
Oct 30, 2011 | 2402:00 | 2.338 | 0.64167 | 1.6963 | 39.4 | 36.6 | 151 | 3227.6674 | 209 | 61 | 76
Oct 30, 2011 | 2403:00
Oct 30, 2011 | 2404:00 | 2.408 | 0.64167 | 1.7663 | 36 | 33 | 151 | 3309.3341 | 209 | 59 | 74
Oct 30, 2011 | 2405:00
Oct 30, 2011 | 2406:00 | 2.442 | 0.64167 | 1.8003 | 34.6 | 32 | 151 | 3349.0008 | 209 | 59 | 74
Oct 30, 2011 | 2407:00
Oct 30, 2011 | 2408:00 | 2.368 | 0.64167 | 1.7263 | 33 | 30 | 151 | 3262.6675 | 209 | 60 | 75
Oct 30, 2011 | 2409:00
Oct 30, 2011 | 2410:00 | 2.211 | 0.64167 | 1.5693 | 49 | 42 | 151 | 3079.5007 | 209 | 60 | 75
Oct 30, 2011 | 2411:00
Oct 30, 2011 | 2412:00 | 2.124 | 0.64167 | 1.4823 | 63 | 55 | 152 | 2978.0007 | 209 | 65 | 80
Oct 30, 2011 | 2413:00
Oct 30, 2011 | 2414:00 | 2.004 | 0.64167 | 1.3623 | 68 | 59 | 153 | 2838.0007 | 209 | 67 | 82
Oct 30, 2011 | 2415:00
Oct 30, 2011 | 2416:00 | 1.983 | 0.64167 | 1.3413 | 70 | 62 | 153 | 2813.5007 | 209 | 68 | 83
Oct 30, 2011 | 2417:00
Oct 30, 2011 | 2418:00 | 2.126 | 0.64167 | 1.4843 | 58 | 52 | 153 | 2980.334 | 209 | 66 | 81
Oct 30, 2011 | 2419:00
Oct 30, 2011 | 2420:00 | 2.228 | 0.64167 | 1.5863 | 48.4 | 44 | 152 | 3099.3341 | 209 | 63 | 78
Oct 30, 2011 | 2421:00
Oct 30, 2011 | 2422:00 | 2.291 | 0.64167 | 1.6493 | 47.2 | 43 | 152 | 3172.8341 | 209 | 61 | 76
Oct 30, 2011 | 2423:00
Oct 31, 2011 | 2400:00 | 2.293 | 0.64167 | 1.6513 | 43.4 | 38.9 | 152 | 3175.1674 | 209 | 62 | 77
Oct 31, 2011 | 2401:00
Oct 31, 2011 | 2402:00 | 2.402 | 0.64167 | 1.7603 | 39.2 | 35.6 | 151 | 3302.3341 | 209 | 59 | 74
Oct 31, 2011 | 2403:00
Oct 31, 2011 | 2404:00 | 2.362 | 0.64167 | 1.7203 | 36.2 | 34.5 | 151 | 3255.6675 | 209 | 60 | 75
Oct 31, 2011 | 2405:00
Oct 31, 2011 | 2406:00 | 2.434 | 0.64167 | 1.7923 | 37.3 | 35 | 151 | 3339.6675 | 209 | 59 | 74
Oct 31, 2011 | 2407:00
Oct 31, 2011 | 2408:00 | 2.447 | 0.64167 | 1.8053 | 35.3 | 34 | 151 | 3354.8341 | 209 | 59 | 74
Oct 31, 2011 | 2409:00
Oct 31, 2011 | 2410:00 | 2.24 | 0.64167 | 1.5983 | 52 | 43 | 152 | 3113.3341 | 209 | 63 | 78
Oct 31, 2011 | 2411:00
Oct 31, 2011 | 2412:00 | 2.084 | 0.64167 | 1.4423 | 59 | 43 | 152 | 2931.334 | 209 | 63 | 78
Oct 31, 2011 | 2413:00
Oct 31, 2011 | 2414:00 | 2.037 | 0.64167 | 1.3953 | 68 | 61 | 153 | 2876.5007 | 209 | 67 | 82
Oct 31, 2011 | 2415:00
Oct 31, 2011 | 2416:00 | 1.943 | 0.64167 | 1.3013 | 65 | 61 | 153 | 2766.834 | 209 | 67 | 82
Oct 31, 2011 | 2417:00
Oct 31, 2011 | 2418:00 | 2.052 | 0.64167 | 1.4103 | 60 | 48 | 153 | 2894.0007 | 209 | 67 | 82
Oct 31, 2011 | 2419:00
Oct 31, 2011 | 2420:00 | 1.972 | 0.64167 | 1.3303 | 55 | 38.8 | 152 | 2800.6673 | 209 | 63 | 78
Oct 31, 2011 | 2421:00
Oct 31, 2011 | 2422:00 | 2.068 | 0.64167 | 1.4263 | 46 | 39 | 153 | 2912.6674 | 209 | 62 | 78
Oct 31, 2011 | 2423:00
Oct 31, 2011 | 0:00 | 2.239 | 0.64167 | 1.5973 | 44 | 40 | 152 | 3112.1674 | 209 | 64 | 78